European Union Rule of Law Mission in Kosovo

EULEX Kosovo

Ndertesa Farmed

“Muharrem Fejza” p.n.

Lagja e Spitalit

10 000 Pristina, Kosovo

http://www.eulex-kosovo.eu

# CLARIFICATIONS (2)

PUBLICATION REFERENCE: PROC/361/12/Residential Security Upgrade Kosovo wide FWC (EuropeAid/133523/L/SUP/XK)

# Questions regarding Technical Specifications

| No | ITEM | Question | Answer |
| --- | --- | --- | --- |
| 1 | Item 1 and 1.1 | Under the point 2 on "TECHNICAL SPECIFICATIONS+ TECHNICAL OFFER" you have requested installation of security doors. Was the installation meant for the point number 1 (Security Door QTY: 10) or it for another position (existing doors of EULEX)? | Under item 1 (Security Door), we require supply and installation of new doors, whereas under item 1.1 (Installation of Security Doors) we require only installation for existing doors. |
| 2 | Item 6 | Under the point 6 on "TECHNICAL SPECIFICATIONS +TECHNICAL OFFER" it is required that Material: Reflectors 200*1000 Watt, with bulb. Is the information correct or could it be described more in detail? | Motion activated outdoor security light: Additional clarification to Item 6: “security light” should understand “floodlight” which should include the halogen bulb as well. |